- Laser System Standard Operating Procedure (SOP) Template

All Principal Investigators are required to write standard operating procedures (SOP) for all laser operations involving Class 4 lasers detailing alignment, operation, and maintenance procedures for each laser.  The SOP must be available to all laser users in the laboratory.   If you possess a Class 3b laser, a written SOP is advisable, but not mandatory unless requested by the LSO.

This SOP shall address specific safety considerations during beam alignment, normal operations, servicing and any non-beam hazards that might exist.  The key to any SOP is to keep it as simple as possible so that it can be used on a routine basis. Please refer to the Pitt laser safety manual and the laser safety training as well as ANSI Z136.1 2014, which is available by contacting EH&S.

This Standard Operating Procedure (SOP) was developed as a standard for good safety practices while utilizing the laser or laser system.  This SOP shall address specific safety considerations during beam alignment, normal operations, servicing and any non-beam hazards that might exist.  This SOP does not take the place of specific laser safety training associated with the laser, nor the Laser Safety Training offered by the Department of Environmental Health and Safety.  Documentation of laser safety training should be kept with the SOP.

Instructions:

- Use this template to create a standard operating procedure for each Class 3B or Class 4 laser.

NOTE: If your SOP(s) is already documented in another form and it includes the information indicated in this template, you may use your current document(s).

- The Laser Supervisor shall train all Laser Users on this procedure and ensure it is followed each time the laser is used.

- Keep this SOP in a common location readily available to the Laser Supervisor and Laser User.

- This SOP should always be available for review upon request of the Laser Safety Officer.

- For specifications or operating conditions that frequently change, list anticipated ranges of specifications or operational settings.

This Laser Standard Operating Procedure has been written to aid with the safe use of the laser identified below.  Laser Supervisors and Laser Users must follow this procedure for each laser use.

LASER SAFETY CONTACTS

| Laser Supervisor: |  | Phone: |  | Mobile: |  |
| --- | --- | --- | --- | --- | --- |
| Primary Laser User: |  | Phone: |  | Mobile: |  |
| Laser Safety Officer: | Susan Slagel | Phone: | 412-624-9505 | Mobile: | 412-298-7998 |
| Medical Emergencies and Fire: | Pitt Police | Phone: | 412-624-2121 |  |  |

- LASER DESCRIPTION

| Laser Type: |  | Laser Location |  |
| --- | --- | --- | --- |
| Manufacturer: |  | Department: |  |
| Model: |  | Building: |  |
| Class: | 3B 4 | Room Number: |  |

| Emission | Wavelength(s) or Wavelength Range (nm) | Power (W) | Pulse Energy (J) | Pulse Duration (sec) | Pulse Frequency (Hz) | Eyewear Optical Density Required |
| --- | --- | --- | --- | --- | --- | --- |
| CW Pulsed |  |  |  |  |  |  |

Brief Description of Laser Use( specific to the lab):

- LASER SAFETY PROGRAM

Please refer to the University of Pittsburgh Laser Safety Manual for the responsibilities of the Laser Supervisor and Laser User, a basic description of hazard control measures, warning sign requirements, laser safety training, and laser registration.

- SETUP, ALIGNMENT AND OPERATING PROCEDURES

- Alignment/Setup
(Please indicate who will be responsible for performing these procedures and include specific beam alignment/visualization aids to be used as well as PPE.)

- Start-up and Operation
(List the basic sequential events that describe the complete operation, including when to don laser eyewear, etc.  The procedures shall be written for the benefit of the Laser User who must read and understand them to perform the operation safely.)

- Shutdown
(Describe normal and emergency shutdown procedures)

| Laser Hazard Control Measures |  |  |
| --- | --- | --- |
| Check if applicable | Control | Comments |
|  | Entryway (door) interlocks |  |
|  | Laser protective housing interlocks |  |
|  | Emergency stop/panic button |  |
|  | Master switch (operated by key or computer password) |  |
|  | Beam stops/attenuators |  |
|  | Beam path enclosure (e.g., light pipe) |  |
|  | Protective barriers |  |
|  | Warning signs |  |
|  | Warning lights |  |
|  | Other (specify): |  |

- PERSONAL PROTECTIVE EQUIPMENT

Laser Protective Eyewear

| wear this eyewear |  |  |
| --- | --- | --- |
| Eyewear Manufacturer | Protected Wavelength(s) | Optical Density (OD) |

Other Protective Equipment

Describe other protective equipment used. This might include the use of lab coats and/or sunscreen for UV laser use.  Other items to describe here include laser rated barriers, curtains, window filters, etc.

- Non-Beam Hazards of this System (check all that apply)

Check all non-beam hazards that apply and provide a brief description of the control measure(s) implemented to control the hazard.

Chemical (dyes, solvents, etc.); attach applicable Safety Data Sheet (SDS)

Biological agents

Electrical (high voltage, large current, capacitors, etc.)

Laser Generated Air Contaminants

Compressed gases or cryogenic liquids

Fire/ignition source

Plasma/blue light exposure

Other (specify):

Emergency procedures

(Post in the lab)

In Case of Emergency

- Shut down laser (if it is safe to do so)

- If there is a fire or medical emergency, call the Pitt Police.

- For non-emergency injuries:

  - Non-employee students should visit Student Health.

  - Pitt employees (Faculty/Staff/Student) should visit Concentra Medical Center, Oakland,         120 Lytton Avenue
Pittsburgh, PA 15213                                                                                                               Phone – (412) 621-5430.

- Call the Laser Supervisor and the Laser Safety Officer.

| Laser Supervisor: |  | Phone: |  | Mobile: |  |
| --- | --- | --- | --- | --- | --- |
| Primary Laser User: |  | Phone: |  | Mobile: |  |
| Laser Safety Officer: | Susan Slagel | Phone: | 412-624-9505 | Mobile: | 412-298-7998 |
| Medical and Fire Emergencies: | Pitt Police | Phone: | 412-624-2121 |  |  |

Laser User Review:

I have read and understand this procedure and have been trained on implementing its contents.

| Name (Printed) | Signature | Date |
| --- | --- | --- |